## Slide 1
Health Care Monitoring System
M.M.M.Amry KAHDSE241F-023
A.Dhanushanandan KAHDSE241F-028
M.A.M.Ammar KAHDSE241F-026
M.Z.F.Zeena KAHDSE241F-022
Supervisor : Mr. Thisara

## Slide 2
PROBLEM
STATEMENT
Paralyzed patients faces significant challenges due to their inability to communicate and the need in continuous monitoring of the vital signs. In Current healthcare monitoring system they do not have a real-time monitoring alert system which can help in emergency situations.
As an example, it is estimated that over 5 million people globally suffer from conditions like paralysis or restricted mobility. Additionally, the studies shows that the delays in emergency response due to insufficient monitoring systems can significantly increase the risk of mortality in vulnerable patients.

## Slide 3
OBJECTIVES
  Continuous of monitoring of vital signs
  Emergency Alerts and Notifications
  Fall detection alert
  Real-time Data accessibility
  Audio Alert System
  User-Friendly interface
The project utilizes an Arduino-based system with multiple healthcare sensors for real-time data collection, processing, and emergency response, enhancing safety through fall detection and live location tracking.

## Slide 4
SOLUTION OVERVIEW
The IoT-based Advanced Health Care Monitoring System offers real-time monitoring and emergency response for paralyzed patients, tracking vital health parameters via an Arduino-based microcontroller and displayed on an OLED screen and mobile application.
1. Real-Time Data Monitoring and Alerts
  continuous tracking of patient health metrices with immediate notifications
  SMS alerts with GPS location sent to guardians and medical teams
2. Fall Detection System
  incorporates a fall detection sensor to identify and alert incase there is a fall
3. Integrated Voice Alert System
  Includes an audio notification system for local alerts providing a direct and immediate signal
4. Mobile App Integration
  Allows remote access to real-time health data through a user-friendly mobile application
5. Versatile Hardware Modules
  Uses GPS for live location tracking and GSM modules for SMS alerts

## Slide 5
Scope
PROJECT SCOPE AND LIMITATIONS
The Advanced Health Care Monitoring System is designed to provide a reliable and efficient solution for continuous health monitoring and emergency management for paralyzed patients.
1. Features and Coverage
  continuous real-time monitoring of vital signs
  integration with an OLED display
  remote data access via a mobile app
  automatic SMS alerts and live GPS location
  fall detection with alerts to guardians
  audio notifications for immediate alerts
2. User Interaction
3. Future Scalability

## Slide 6
Project Limitations
  Hardware Dependency: environmental factors like humidity and temperature(Sensor)
  Connectivity Requirements: strong WIFI or GSM network
  Energy Efficiency: reliable power source
  Data Security: cyber threats
Assumptions
  The patient enjoys stable internet connectivity and GSM signal strength, and the Blynk app is accessible to caregivers and medical staff via compatible mobile devices.

## Slide 7
SYSTEM ARCHITECTURE
The Advanced Health Care Monitoring System follows a modular architecture(Separated Modules), integrating hardware components for data collection, processing, and communication. The architecture ensures real-time monitoring and effective emergency management through IoT technology.
The System use various Sensors , Micro controllers and Other components to achieve the Project Goal.

## Slide 8
Data flow and Interactions
Data Collection:
  Sensors collect vital health data
Data Processing:
  processes sensor data, identifies abnormalities, and determines if an alert needs to be triggered
Data Transmission:
  SMS Alerts
  Live Location
  Audio Alerts
Remote Data Access:
  allowing remote monitoring to mobile App.
Local Data Visualization:
    The OLED display shows real-time health information for caregivers near the patient.

## Slide 9
HARDWARE AND SOFTWARE COMPONENTS
  Arduino Mega
  Esp8266
  GSM Module (SIM800L)
  OLED Display
  Heart rate sensor (MAX30105)
  Temperature sensor (DS18B20)
  Blood Pressure sensor (MAX30105)
  Fall detection sensor (MPU6050)
  ECG sensor (AD8232)
  DF player module and speaker
  GPS module (NEO6MV2)
  Arduino IDE
  BLYNK App or FireBase
Hardware
Software

## Slide 10
LITERATURE REVIEW
Data Collection
The Advanced Health Care Monitoring System collects data through various sensors integrated into the hardware setup
  Vital Signs Monitoring Sensors ( Heart Rate Sensor,Temperature Sensor, Blood Pressure Sensor, ECG Sensor)
  Fall Detection ( Fall Detection Sensor )
  Communication Modules for Alerts ( GSM and GPS modules )
Data Storage
Data is displayed in real-time but not permanently stored within the system. For continuous monitoring:
  Blynk App: Serves as a temporary storage platform where caregivers can view patient health records.

## Slide 11
Data Processing
  Real-Time Data Integration (Sensor readings are continuously collected and interpreted by the Arduino Mega microcontroller, And the system uses pre-defined thresholds to identify emergencies too)
  Signal Processing ( The ECG sensor’s analog signals are filtered and amplified to produce readable outputs )
  Data Communication (The ESP8266 Wi-Fi module transmits data to the Blynk app for real-time monitoring And the GSM module sends SMS alerts to designated contacts, and the GPS module provides live location.
Data Analysis Methods
  Threshold-Based Alerts
  Pattern Recognition
  Emergency Algorithms

## Slide 12
NETWORK AND SECURITY CONSIDERATIONS
Network Structure
  Wi-Fi Connectivity
  GSM Communication
  GPS Module
  Local Display
Data Secutiry Measures
  Secure Data Transmission
  Access Control
  Data Privacy
  Network Reliability

## Slide 13
EXPECTED BENIFITS
  Improved patient safety and Health Monitoring
  Enhanced Caregiver Efficiency
  Timely Emergency response
  Cost savings for patients and caregivers
  Hospital Efficiency
  Improved quality life for patients
  Support for families and caregivers
  Accessibility and inclusion

## Slide 14
TIME LINE
WEEK 1
  Research and find the suitable components for the project and discuss about the project.
WEEK 2
  Finalize the circuit diagrams and hardware connections.
WEEK 3 &4
  Develop the code for the project.
WEEK 5
  Test the code and components finalize the project.

## Slide 15
CONCLUSION
The Advanced Health Care Monitoring System utilizes IoT technology and real-time sensors to monitor paralyzed patients, enhancing safety and caregiver independence through early detection and emergency alerts.

## Slide 17
Thank you very much!